Semester 8

ANALYTICAL CHEMISTRY Sp-II

(2018)

SHORT QUESTIONS

Q1. What is the difference between molecular ion peak and base peak?

Molecular Ion

- The molecular ion peak in a mass spectrum represents the ionized molecule's mass without fragmentation.

- It typically corresponds to the molecular weight of the compound.

- The molecular ion peak provides information about the intact molecule.

Base Peak

- The base peak is the tallest peak in the spectrum and represents the most abundant ion. This ion may result from fragmentation of the molecular ion or other ions in the sample.

- The base peak indicates the most prominent fragment or ion in the spectrum.

Q2. What is nitrogen rule? Discuss its significance?

The nitrogen rule, also known as the odd-electron rule, is a guideline used in mass spectrometry to predict the molecular ion peak of organic compounds. It states that molecules with an odd number of nitrogen atoms will often exhibit an odd molecular ion peak (molecular ion with an odd mass).

Significance

The significance of the nitrogen rule lies in its utility for interpreting mass

spectra, particularly in the context of organic compounds. The nitrogen rule is a valuable tool for interpreting mass spectra, particularly when assessing the presence of nitrogen-containing groups in organic compounds. While not without exceptions, it serves as a useful guideline for understanding the patterns of ionization and fragmentation in mass spectrometry experiments.

Q3. What are metastable ions?

Metastable ions in the context of mass spectrometry refer to ions that have a higher energy state than typical ions produced during the ionization process. These ions are formed in excited states and are prone to undergo further fragmentation or rearrangement to reach a more stable state. The formation of metastable ions often occurs during processes like electron impact ionization or chemical ionization in mass spectrometry.

Q4. How scale of chemical shift value is formulated in NMR spectroscopy?

In nuclear magnetic resonance (NMR) spectroscopy, the chemical shift (δ) is a measure of the difference in the resonant frequency of a nucleus in a molecule compared to a reference standard. The chemical shift value is reported in parts per million (ppm) and is calculated using the following formula:

Where  νsample is the Observed Resonance Frequency and νreference is the Reference Resonance Frequency.

Q5. Why TMS is used as a standard in NMR spectroscopy?

Tetramethylsilane (TMS) is commonly used as a standard in nuclear magnetic resonance (NMR) spectroscopy for several reasons:

- TMS is chemically inert and does not react with most compounds.

- TMS produces a single, sharp signal in the NMR spectrum.

- TMS has a high degree of symmetry due to its tetrahedral structure, leading to a narrow and well-defined NMR signal.

- TMS is often soluble in a wide range of solvents commonly used in NMR experiments

By using TMS as a reference standard, researchers can accurately measure and compare the chemical shifts of other compounds in NMR spectra. This standardization is crucial for the reproducibility and reliability of NMR data across different laboratories and instruments.

Q6. What is spin procession?

Spin precession refers to the motion of a particle's spin angular momentum around an external magnetic field. Spin precession is a consequence of the magnetic interactions between the nuclear or electron spin and the external magnetic field. This phenomenon is a fundamental aspect of nuclear magnetic resonance (NMR) and electron paramagnetic resonance (EPR) spectroscopy, techniques widely used in chemistry and physics.

Q7. Describe spin- spin relaxation?

Spin-spin relaxation, often referred to as (T2) relaxation, is a process in nuclear magnetic resonance (NMR) and magnetic resonance imaging (MRI) that describes the decay of transverse magnetization in a sample. This relaxation process is due to interactions between the magnetic moments (spins) of nuclei or electrons in a material.

It provides insights into the molecular or structural properties of materials and is a key factor in optimizing experimental parameters for obtaining high-quality spectra and images.

Q8. Why four level laser system is better than three level laser system?

A four-level laser system is often considered more efficient than a three-level laser system for several reasons, primarily related to population inversion and

energy levels. Here are some advantages of a four-level laser system over a three-level system:

- Population Inversion is Easier to Achieve

- Reduced Thermal Loading

- Higher Gain and Lower Threshold

- Improved Efficiency

- Broadens Wavelength Range

- Less Susceptible to Saturation

Q9. What is stimulated emission?

Stimulated emission is the process by which an incoming photon of a specific frequency can interact with an excited atomic electron (or other excited molecular state), causing it to drop to a lower energy level.

This process results in the amplification of light because each stimulated emission event produces a new photon with the same characteristics. Stimulated emission is a process that plays a crucial role in the operation of lasers.

Q10. What do you mean about population inversion?

The number of atoms present in the excited state or higher energy state is greater than the number of atoms present in the ground state or lower energy state is called population inversion. It is an inverted phenomenon.

Boltzmann’s distribution gives the  population of an energy level E at temperature T as

Where N0 is the population of the lower level or ground state and k is Boltzmann’s constant.

LONG QUESTIONS

Q1. Discuss applications of NMR spectroscopy?

Nuclear Magnetic Resonance (NMR) spectroscopy has diverse applications:

1. Chemical Structure Determination: NMR is widely used to determine the structure of organic compounds by analyzing the chemical shifts, coupling constants, and integration of signals in the NMR spectrum.

2. Protein Structure Studies: In biochemistry, NMR is crucial for determining the three-dimensional structures of proteins in solution, providing insights into their folding and dynamics.

3. Pharmaceutical Analysis: NMR is employed in the pharmaceutical industry for quality control, identifying and quantifying components in drugs, and investigating drug-receptor interactions.

4. Metabolomics: NMR helps analyze complex mixtures of metabolites in biological samples, contributing to the study of metabolic pathways and understanding disease mechanisms.

5. Environmental Monitoring: NMR can be used to analyze pollutants in environmental samples, aiding in monitoring water and air quality.

6. Food Analysis: NMR spectroscopy is applied in food science to determine the composition of various components like fats, sugars, and proteins, ensuring food safety and quality.

7. Material Science: NMR is used to investigate the properties and structures of materials, such as polymers and ceramics, contributing to material design and development.

8. Medical Imaging (MRI): NMR forms the basis for Magnetic Resonance Imaging (MRI), a non-invasive medical imaging technique widely used for visualizing internal structures in the body.

Q2. Explain different ionisation sources in mass spectroscopy?

In mass spectrometry, ionization sources are crucial for converting sample molecules into ions before their mass-to-charge ratio is analyzed. Common ionization sources include:

1. Electrospray Ionization (ESI): ESI is widely used for biomolecules like proteins and peptides. It generates ions by spraying a liquid sample through a charged capillary, leading to the formation of ions in the gas phase.

2. Electron Impact (EI): In EI, high-energy electrons collide with gas-phase molecules, causing ionization. This method is common in gas chromatography-mass spectrometry (GC-MS) for volatile organic compounds.

3. Chemical Ionization (CI): CI involves the use of reagent gases like methane or isobutane to ionize the sample molecules. It's often employed for less volatile compounds and provides softer ionization compared to EI.

4. Atmospheric Pressure Chemical Ionization (APCI): APCI is suitable for less volatile compounds. It uses a corona discharge needle to generate ions at atmospheric pressure, allowing for the analysis of a wide range of molecules.

5. Photoionization (PI): PI uses photons to ionize molecules. It's often employed in combination with other ionization techniques and is particularly useful for analyzing compounds with low ionization potentials.

6. Fast Atom Bombardment (FAB): FAB involves bombarding a sample with high-speed neutral atoms, often xenon or argon. It's useful for analyzing polar and high-mass compounds.

7. Desorption Electrospray Ionization (DESI): DESI combines aspects of electrospray and desorption ionization. It allows for the direct analysis of surfaces, generating ions by spraying charged droplets onto the sample.

Q3. Discuss four types of detectors in mass spectroscopy?

Mass spectrometry utilizes various types of detectors to measure the abundance and characteristics of ions. Some common types are:

1. Electron Multiplier Detector

Operation: Electrons released by ion impact are multiplied through a series of dynodes.

Application: Common in electron impact (EI) ionization.

2. Faraday Cup Detector

Operation: Measures the electric current produced by ions striking a metal surface.

Application: Often used in magnetic sector mass spectrometers.

3. Channeltron Detector

Operation: Similar to electron multipliers, but with a microchannel plate for secondary electron multiplication.

Application: Used in various mass spectrometers for high sensitivity.

4. Microchannel Plate Detector

Operation: Ions strike a microchannel plate, releasing electrons, which are then multiplied.

Application: Common in time-of-flight (TOF) mass spectrometers.

5. Photomultiplier Tube (PMT)

Operation: Converts photons into electrons, often used in conjunction with a phosphor screen in some mass spectrometers.

Application: Suitable for certain types of detectors in mass spectrometry.

Q4. Describe different factors affecting chemical shift?

Chemical shift in nuclear magnetic resonance (NMR) spectroscopy is influenced by several factors. Some  factors that affects chemical shift are:

1. Electronegativity: Electronegative atoms or groups nearby can deshield the nucleus, leading to a downfield shift (towards higher ppm values) in the NMR spectrum.

2. Ring Currents: Aromatic rings can create a magnetic field due to π-electron circulation, affecting nearby nuclei. This can lead to either upfield or downfield shifts, depending on the direction of the ring current.

3. Hybridization State: The hybridization of the carbon or heteroatom influences the chemical shift. Generally, sp3 hybridized carbons appear at lower ppm values (upfield), while sp2 and sp hybridized carbons appear at higher ppm values (downfield).

4. Anisotropy: In molecules with anisotropic effects, such as aligned molecules in a liquid crystal, the orientation of the molecule can influence chemical shift.

5. Solvent Effects: The choice of solvent can impact chemical shift. Different solvents have different electron densities around the observed nuclei, leading to variations in chemical shift.

6. Proton Density: Higher proton density in the vicinity of a nucleus can cause deshielding, resulting in a downfield shift.

7. Steric Effects: Bulky groups near the observed nucleus can shield it by hindering the approach of external magnetic fields, causing an upfield shift.

8. Temperature: Changes in temperature can influence chemical shift values, especially in dynamic systems or reactions.

Q5. Write down the construction  and working  of Ruby laser?

The Ruby laser is one of the earliest types of lasers, invented by Theodore Maiman in 1960. Here's a brief overview of its construction and working:

Construction

1. Ruby Crystal

- The active medium in a Ruby laser is a synthetic ruby crystal, typically aluminum oxide (Al₂O₃) doped with chromium ions (Cr³⁺).

- The chromium ions serve as the active centers that can be stimulated to emit photons.

2. Flashlamp

- The Ruby crystal is surrounded by a flashlamp, which is a high-intensity lamp that emits an intense flash of light when energized.

- The flashlamp is responsible for pumping energy into the ruby crystal to create the population inversion necessary for laser action.

3. Optical Resonator

- The Ruby laser has an optical resonator, typically consisting of two mirrors—one highly reflective (rear mirror) and the other partially transparent (output coupler).

- The mirrors are aligned to create an optical cavity, with the Ruby crystal placed between them.

Working

1. Pumping

- The Ruby laser is optically pumped. When the flashlamp is energized, it emits a flash of intense white light.

- The white light from the flashlamp pumps the ruby crystal, exciting the chromium ions within the crystal to higher energy states.

2. Absorption and Population Inversion

- The chromium ions absorb the optical energy and get promoted to higher energy levels, creating a population inversion. This means that more atoms are in higher energy states than in lower energy states.

3. Spontaneous Emission

- Some of the chromium ions in the higher energy states spontaneously drop back to lower energy states, emitting photons in the process. This is spontaneous emission.

4. Stimulated Emission

- Photons emitted through spontaneous emission stimulate other chromium ions in the higher energy states to drop back to lower energy states in a coherent manner. This is stimulated emission.

- Stimulated emission leads to the creation of a coherent beam of monochromatic light.

5. Amplification and Laser Output

- The coherent light produced by stimulated emission is amplified as it bounces back and forth between the mirrors in the optical resonator.

- Eventually, a portion of this amplified light is allowed to exit through the partially transparent mirror, resulting in the laser output.

Q6. How population inversion will be achieved?

Achieving population inversion is a critical step in the operation of a laser. Population inversion occurs when more atoms or molecules are in higher energy states than in lower energy states. This condition is essential for stimulated emission, a process that leads to the amplification of light in lasers. Following steps are involved in achieving population inversion:

1. Energy Absorption (Pumping)

- The laser medium, which could be a gas, liquid, or solid, contains atoms or molecules capable of undergoing electronic transitions.

- External energy is supplied to the laser medium to elevate a significant number of these atoms or molecules to higher energy levels. This process is known as pumping.

- Common methods of pumping include optical pumping (using light), electrical pumping, or pumping with another laser.

2. Excitation to Higher Energy States

- As external energy is supplied, electrons within the atoms or molecules absorb this energy and move to higher energy states.

- The duration and efficiency of the pumping process determine how many particles are elevated to higher energy levels.

3. Spontaneous Emission

- Some of the particles in the higher energy states undergo spontaneous emission. During spontaneous emission, these particles return to lower energy states and release photons in the process.

- However, spontaneous emission alone is not sufficient for laser operation as it does not produce the necessary coherence and amplification.

4. Stimulated Emission

- The key to achieving population inversion is stimulated emission. In this process, a photon passing by an atom or molecule in an excited state stimulates that particle to emit a second photon of the same energy, phase, and direction as the incident photon.

- This leads to a cascade effect where more particles undergo stimulated emission, resulting in the amplification of coherent light.

5. Maintaining Population Inversion

- To sustain population inversion, the rate of pumping must exceed the rates of spontaneous emission and stimulated emission combined.

- If the pumping rate is sufficiently high, more particles remain in the higher energy states, creating and maintaining population inversion.

☆☆☆☆☆☆☆☆☆☆

(2019)

SHORT QUESTIONS

Q1. Describe ring nitrogen rule with suitable examples?

The Ring Nitrogen Rule is a guideline in organic chemistry that helps predict the reactivity of heterocyclic compounds, particularly those containing nitrogen atoms in the ring.

Rule Statement:

"A nitrogen atom in a ring tends to be more reactive in electrophilic aromatic substitution reactions if the number of nitrogens in the ring is greater than expected for a stable aromatic compound."

Examples:

- Pyridine (C₅H₅N)

- Quinoline (C₉H₇N)

- Pyrazine (C₄H₄N₂)

- Pyrimidine (C₄H₄N₂)

Q2. Write a note on fast atom bombardment (FAB) in mass spectroscopy?

Fast Atom Bombardment (FAB) is a mass spectrometry ionization technique

that was widely used in the 1980s and 1990s, especially for the analysis of large and polar molecules.

FAB involves bombarding a sample with high-speed neutral atoms, often xenon or argon. It's useful for analyzing polar and high-mass compounds.

Q3. What is difference between single focusing and double focusing analyser?

| Single Focusing Analyser | Double Focusing Analyser |
| --- | --- |
| Principle: Single focusing analyzers operate based on the principle of focusing ions through an electric or magnetic field. | Principle: Double focusing analyzers utilize both electric and magnetic fields to focus ions. |
| Magnetic Sector: The most common type of single focusing analyzer is the magnetic sector analyzer. | Magnetic and Electric Sector: The double focusing analyzer typically consists of a magnetic sector followed by an electric sector. |
| Mass Resolution: Mass resolution in single focusing analyzers is moderate compared to some other types of analyzers. | Mass Resolution: Double focusing analyzers generally offer higher mass resolution compared to single focusing analyzers. |
| Focusing Element: Uses a single magnetic field or electric field to focus ions. | Focusing Elements: Combines both magnetic and electric fields to focus ions, offering more precise control over ion trajectories. |

Q4. Define coupling constant? How it is calculated?

Definition: A coupling constant (J) is the measure of the interaction between the nuclear spins of two coupled nuclei in a molecule. It represents the energy difference between the coupled nuclear spin states.

Calculation: The coupling constant is expressed in Hertz (Hz) and is typically observed as the separation between the split peaks in an NMR spectrum. The coupling pattern (doublet, triplet, quartet, etc.) and the value of the coupling constant provide information about the number of equivalent neighbouring nuclei.

Q5. Briefly describe principle of NMR SPECTROSCOPY?

- The principle behind NMR is that many nuclei have spin and all nuclei are electrically charged. If an external magnetic field is applied, an energy transfer is possible between the base energy to a higher energy level (generally a single energy gap).

- The energy transfer takes place at a wavelength that corresponds to radio frequencies and when the spin returns to its base level, energy is emitted at the same frequency.

- The signal that matches this transfer is measured in many ways and processed in order to yield an NMR spectrum for the nucleus concerned.

Q6. What is spin-spin relaxation?

Q7. Write down different parts of NMR spectrometer?

Sample holder: Glass tube with 8.5 cm long, 0.3 cm in diameter.

Permanent magnet: It provides a homogeneous magnetic field at 60-100 MHZ

Magnetic coils: These coils induce a magnetic field when current flows through them

Sweep generator: To produce an equal amount of magnetic field pass through the sample

Radio frequency transmitter: A radio transmitter coil transmitter that produces a short powerful pulse of radio waves

Radio frequency receiver: A radio receiver coil that detects radio frequencies emitted as nuclei relax to a lower energy level

Read out systems: A computer that analyses and records the data.

Q8. What is population inversion  in laser?

Q9. Describe four level laser systems with diagram?

The four-level laser system is a theoretical model that describes the energy levels and transitions involved in the operation of certain types of lasers. In a four-level laser system, four distinct energy levels play a role in the lasing process, ground state (Level 1), first excited state (Level 2), meta-stable state (Level 3), and lasing transition (Level 4).

Q10. Why TMS is used as a internal standard in NMR?

LONG QUESTIONS

Q1. Describe two applications of Mass spectrometer?

Mass spectrometry (MS) is a versatile analytical technique with a wide range of applications across various scientific disciplines. The applications of mass spectrometry are given below

1. Proteomics and Protein Identification

Application: Mass spectrometry is extensively used in proteomics for the identification and characterization of proteins. Techniques like Liquid Chromatography-Mass Spectrometry (LC-MS) and Matrix-Assisted Laser Desorption/Ionization Mass Spectrometry (MALDI-MS) are commonly employed.

How it Works: Proteins are enzymatically digested into peptides, and these peptides are ionized and then separated based on their mass-to-charge ratio. The resulting mass spectrum provides information about the peptide masses. By comparing these masses to a database, researchers can identify the proteins present in a sample.

2. Drug Metabolism and Pharmacokinetics

Application: Mass spectrometry is crucial in drug development and understanding how drugs are metabolized in the body (pharmacokinetics). It is used to identify and quantify drug metabolites, determine metabolic pathways, and assess the bioavailability of drugs.

How it Works: After administering a drug, biological samples such as blood or urine are collected. Mass spectrometry helps analyze these samples to identify and quantify the drug and its metabolites. This information aids researchers in optimizing drug formulations and understanding how drugs are processed by the

body.

Q2. Prove that: m/e*=H²R²/2V.

Q3. Describe McLafferty Rearrangement with example?

The McLafferty Rearrangement is a chemical rearrangement reaction observed in certain mass spectrometry experiments, particularly in the analysis of organic compounds containing carbonyl groups. The reaction involves the rearrangement of a molecular ion to form a more stable carbocation and a neutral fragment.

McLafferty Rearrangement

1. Reaction Overview: The McLafferty Rearrangement is characterized by the migration of a hydrogen atom from the α-carbon (adjacent to the carbonyl group) to the oxygen atom of the carbonyl group.

2. Conditions: McLafferty Rearrangement is often observed in mass spectrometry under electron impact conditions or during ionization processes.

3. Result: The rearrangement leads to the formation of a more stable carbocation and a neutral fragment, typically an enol.

Example

Consider the molecule acetone (propanone) with the chemical structure:

CH3​−C(=O)−CH3​

In the mass spectrometer, under certain conditions, the molecular ion CH3​−C(=O)−CH3+​ may undergo McLafferty Rearrangement. The rearrangement involves the migration of a hydrogen atom from the α-carbon to the oxygen atom of the carbonyl group. The result is the formation of a more stable carbocation and a neutral enol fragment.

The reaction can be represented as follows:

CH3​−C(=O)−CH3+​→CH2​=C(OH)−CH2+​+CH3​

In this example, the McLafferty Rearrangement leads to the formation of an enol fragment (CH2=C(OH)−CH2+CH2​=C(OH)−CH2+​)  and a methyl group (CH3). The enol fragment is more stable than the initial molecular ion due to the resonance stabilization of the carbocation.

The McLafferty Rearrangement is particularly useful in mass spectrometry for deducing structural information about organic compounds and identifying characteristic fragments in mass spectra.

Q4. Describe different factors affecting coupling constant?

The coupling constant in nuclear magnetic resonance (NMR) spectroscopy is influenced by several factors. The coupling constant (\(J\)) is a measure of the interaction between nuclear spins in a molecule, particularly those of coupled nuclei. Some key factors affecting the coupling constant are:

1. Bond Strength: The strength of the bond between coupled nuclei can impact the coupling constant. Stronger bonds typically result in larger coupling constants.

2. Hybridization of Orbitals: The type of hybridization of orbitals involved in the coupling can influence (J). For example, sp3-hybridized carbon atoms typically exhibit smaller coupling constants compared to sp2-hybridized carbon atoms.

3. Conformational Effects: The conformation of the molecule, particularly the dihedral angles between coupled nuclei, can impact the coupling constant. Different conformations can lead to variations in (J) values.

4. Ring Current Effects: In molecules with conjugated systems or aromatic

rings, ring current effects can influence (J). The magnetic field generated by the π-electron cloud can affect the coupling constant.

5. Solvent Effects: The choice of solvent can influence the coupling constant, especially if the solvent affects the conformation or electronic environment of the molecule.

6. Steric Effects: Steric hindrance around coupled nuclei can impact the coupling constant. Bulky substituents may influence the conformation and, consequently, (J).

7. Temperature: Temperature can influence the population of different conformations and affect the coupling constant. Higher temperatures may lead to increased molecular motion, impacting NMR measurements.

Q5. Discuss methods of excitation/population inversion in laser?

Achieving population inversion is a crucial step in the operation of a laser. Population inversion occurs when there are more particles (atoms, molecules, or ions) in an excited state than in the lower energy states. This condition is necessary for the amplification of light through stimulated emission. Here are some methods used for excitation and achieving population inversion in lasers:

1. Optical Pumping

Principle: External light sources, such as flash lamps or other lasers, are used to pump the laser medium and elevate particles to higher energy levels.

Example: The ruby laser uses optical pumping, where flash lamps provide the necessary energy to excite chromium ions in ruby crystals.

2. Electric Discharge

Principle: A high-voltage electric discharge is passed through the laser medium, exciting particles to higher energy states.

Example: Gas lasers like helium-neon lasers use electric discharge to achieve population inversion in the helium atoms.

3. Optical Excitation

Principle: Direct absorption of photons from an external light source excites particles to higher energy levels.

Example: Semiconductor lasers, such as diode lasers, achieve population inversion through direct optical excitation of electrons in a semiconductor material.

4. Chemical Excitation (Chemical Pumping)

Principle: Chemical reactions create the excited states required for population inversion.

Example: The chemical laser, such as the hydrogen fluoride (HF) laser, relies on chemical reactions to generate the necessary excited states.

5. Collisional Excitation

Principle: Collisions between particles in a gas or plasma lead to the transfer of energy, causing population inversion.

Example: CO2 lasers achieve population inversion through collisions between molecules in a gas mixture.

6. Flashlamp Pumping

Principle: Intense flashes of light from a flashlamp pump the laser medium, causing electronic transitions and population inversion.

Example: Nd:YAG (neodymium-doped yttrium aluminum garnet) lasers often use flashlamp pumping to achieve population inversion.

7. Diode Pumping

Principle: Semiconductor diode lasers provide the energy needed for excitation and population inversion.

Example: Some solid-state lasers, like certain types of Nd:YAG lasers, can be diode-pumped.

Q6. Describe the working of Alexandrite Laser?

The Alexandrite laser is a type of solid-state laser that operates in the near-infrared region of the electromagnetic spectrum. It is known for its efficiency in producing high-power laser beams, particularly in the visible and near-infrared ranges. Working of an Alexandrite laser is given below:

1. Active Medium: The active medium in an Alexandrite laser is a synthetic crystal called alexandrite, which is a variety of chrysoberyl. Alexandrite crystals contain chromium ions (Cr3+)as the active dopant.

2. Pumping: The laser process begins with optical pumping. Typically, flash lamps or laser diodes are used to pump the alexandrite crystal. The pumping energy is absorbed by the chromium ions, causing them to be excited to higher energy levels.

3. Absorption and Population Inversion: The chromium ions absorb energy and undergo electronic transitions. This process creates a population inversion, where more ions are in the excited state than in the ground state. Population inversion is a necessary condition for laser action.

4. Spontaneous Emission: As the chromium ions return to the ground state from the excited state, they emit photons spontaneously. These photons have a specific wavelength determined by the energy levels of the chromium ions.

5. Stimulated Emission: Photons produced by spontaneous emission stimulate

other excited chromium ions to emit coherent photons with the same wavelength, phase, and direction. This process leads to the amplification of light and the creation of a highly directional and coherent laser beam.

6. Resonator Cavity:  The Alexandrite crystal is placed within an optical resonator cavity that includes mirrors. The mirrors are positioned to allow multiple passes of the laser light through the gain medium, enhancing the amplification.

7. Output Coupler:  One of the mirrors is a partially reflecting mirror, known as the output coupler. It allows a portion of the laser light to exit the resonator cavity, forming the laser output beam.

8. Tunable Wavelength: One notable characteristic of Alexandrite lasers is their tunable wavelength. The wavelength of the emitted laser light can be adjusted within a specific range by tuning the temperature of the Alexandrite crystal.

☆☆☆☆☆☆☆☆☆☆

(2020)

SHORT QUESTIONS

Q1. What is difference between  continuous analyser and pulsed mass analyser?

| Continuous Mass Analyser | Pulsed Mass Analyser |
| --- | --- |
| Its is a continuous operation. | It operates in a pulsed manner. |
| Suitable for moderate-resolution applications. | Provides high mass resolution. |

| Examples include Quadrupole Mass Spectrometers. | Examples include Time-of-Flight (TOF) Mass Spectrometers. |
| --- | --- |
| Advantage: Simplicity in design and operation. | Advantage: High mass resolution and accuracy. |
| Disadvantage: Limited resolution compared to some other types of mass analyzers. | Disadvantage: Complexity in design and operation. |

Q2. Describe optical resonator as laser system component?

An optical resonator is a crucial component in a laser system, playing a fundamental role in achieving population inversion, amplification, and the emission of a highly collimated and coherent laser beam. and emission of coherent light. The resonator typically consists of two mirrors, forming an optical cavity.

Types of Optical Resonators

It’s has following types:

- Fabry-Perot Resonator

- Ring Resonator

- V-Resonator

- Confocal Resonator

Q3. Describe nitrogen rule and even electron rule as applied in mass spectroscopy?

The nitrogen rule and the even-electron rule are guidelines used in mass spectrometry to predict the presence of odd or even numbers of nitrogen atoms

in molecular ions based on the observed mass-to-charge ratios (m/z) in the mass spectrum.

Nitrogen Rule

Statement: The nitrogen rule suggests that for organic compounds, if the molecular ion (M^+) peak in the mass spectrum has an odd mass-to-charge ratio (odd m/z), the molecule likely contains an odd number of nitrogen atoms.

Example: If the molecular ion has an m/z of 77, the nitrogen rule suggests that the molecule likely contains an odd number of nitrogen atoms.

Even-Electron Rule

Statement: The even-electron rule states that for organic compounds, if the molecular ion (M^+) peak in the mass spectrum has an even mass-to-charge ratio (even m/z), the molecule likely contains an even number of nitrogen atoms.

Example: If the molecular ion has an m/z of 78, the even-electron rule suggests that the molecule likely contains an even number of nitrogen atoms.

Q4. Write down the basic principle of Magnetic resonance imaging?

Magnetic Resonance Imaging (MRI) relies on the principle of nuclear magnetic resonance. When exposed to a strong magnetic field, certain atomic nuclei, like hydrogen protons in the body, align with the field. Radiofrequency pulses are then applied, causing the protons to temporarily deviate from alignment. As they return to their original state, they emit signals detected by the MRI machine, creating detailed images based on tissue characteristics and spatial information.

Q5. What is spin lattice relaxation process?

Spin-lattice relaxation is a process in Magnetic Resonance Imaging (MRI)

where the excited nuclei (e.g., hydrogen protons) return to their equilibrium state after being disturbed by a radiofrequency pulse. During this process, energy is transferred to the surrounding lattice, typically through molecular collisions and interactions. The time it takes for the nuclei to relax and realign with the magnetic field is called the spin-lattice relaxation time (T1).

Q6. Differentiate between spatial and temporal coherence?

Spatial Coherence

Definition: Spatial coherence describes the degree of correlation between the phases of waves at different points in space.

Example: In optics, it relates to how well the wavefronts maintain their shape over distance. A laser beam is an example of high spatial coherence because its waves maintain a consistent phase relationship over a significant distance, resulting in a focused and stable beam.

Temporal Coherence

Definition: Temporal coherence refers to the degree of correlation between the phases of a wave at different points in time.

Example: In optics, it pertains to how well the wave maintains its phase over time. A continuous wave laser has high temporal coherence because the phases of its oscillations remain correlated over a long period. This coherence property is essential for applications like interferometry.

Q7. What are the characteristics of laser?

Lasers (Light Amplification by Stimulated Emission of Radiation) have several distinctive characteristics:

Coherence: Laser light is highly coherent, meaning the waves have a consistent phase relationship.

2. Monochromaticity: Laser light is nearly monochromatic, consisting of a very narrow range of wavelengths.

3. Directionality: Laser beams are highly directional, maintaining their focus over long distances.

4. Intensity: Lasers can produce high-intensity light.

5. High Energy Density: The energy in a laser beam is concentrated in a small area, resulting in high energy density.

6. Polarization: Laser light can be polarized, meaning its electric field vibrations occur predominantly in one direction.

Q8. Describe spin-spin coupling?

Q9. Give some advantages of laser?

Laser has following advantages:

1. Versatility: Lasers have diverse applications across multiple industries, including medicine, communications, manufacturing, research, and entertainment.

2. Speed and Efficiency: Laser processes are often faster and more efficient than traditional methods. In manufacturing, lasers can cut, weld materials swiftly, contributing to increased productivity.

3. Minimal Heat Impact: Laser processes can be designed to have minimal heat-affected zones, making them suitable for tasks where heat can damage surrounding materials.

4. High Energy Density: The high energy density of laser beams enables tasks like material ablation and welding.

5. Research Tools: Lasers serve as essential tools in scientific research,

enabling tasks such as spectroscopy, microscopy, and laser cooling.

LONG QUESTIONS

Q1. Discuss electron impact ionisation in mass spectroscopy?

Electron impact ionization is a common ionization technique used in mass spectrometry to generate ions from neutral molecules. Here's a brief explanation of how electron impact ionization works:

1. Ionization Source: In electron impact ionization, a source such as an electron gun emits high-energy electrons.

2. Energetic Electrons: These high-energy electrons are accelerated and directed toward the sample molecules. The electrons typically have energies in the range of 70 to 150 electron volts (eV).

3. Collision with Sample Molecules: When the high-energy electrons collide with neutral molecules in the sample, they can transfer enough energy to eject an electron from the molecule, resulting in the formation of a positive ion.

4. Formation of Radical Cation: The process produces a radical cation (a positively charged species with an unpaired electron) from the neutral molecule. The radical cation is the ionized form of the original molecule.

5. Fragmentation: In some cases, the radical cation may undergo fragmentation, breaking into smaller ions and neutral fragments. These fragments provide information about the structure of the original molecule.

6. Acceleration and Detection: The resulting ions, including the intact molecular ion and any fragments, are then accelerated into the mass spectrometer's analyzer, where they are separated based on their mass-to-charge ratio (m/z).

7. Mass Spectrum: The detector records the ions, and the resulting mass spectrum represents the distribution of ions according to their masses. Peaks in the spectrum correspond to different ions formed during the ionization process.

Q2. Discuss inlet system of mass spectrometer?

The inlet system of a mass spectrometer plays a crucial role in introducing the sample into the ionization source. It typically consists of several components designed to handle different sample types and conditions. Common parts of an inlet system in mass spectrometry are:

1. Sample Inlet: The entry point for the sample into the mass spectrometer. Depending on the technique used, this can be a direct insertion port, a gas chromatography (GC) column, a liquid chromatography (LC) system, or other specific inlet methods.

2. Sample Introduction Interface: The interface that connects the sample inlet to the ionization source. It may include components such as transfer lines, injectors, and nebulizers, depending on the sample and ionization method.

3. Vaporization/Desorption Zone: For samples in liquid or solid form, there is often a vaporization or desorption step to convert the sample into vapor or gas before entering the ionization source. This can involve techniques like thermal vaporization, nebulization, or desorption methods.

4. Ionization Source: The region where ionization of the sample occurs. Common ionization sources include electron impact sources, chemical ionization sources, electrospray ionization (ESI), matrix-assisted laser desorption/ionization (MALDI), and others.

5. Sample Inlet Capillary/Tube: The tube or capillary through which the vaporized or desorbed sample travels from the sample introduction interface to the ionization source. This component ensures a controlled flow of sample into

the ionization region.

6. Heating Elements: In some cases, the inlet system may include heating elements to aid in the vaporization or desorption process, ensuring that the sample is introduced into the ionization source in a suitable form.

7. Vacuum System: The inlet system is often maintained under vacuum conditions to facilitate the movement of ions through the mass spectrometer. A vacuum system typically includes vacuum pumps and pressure-regulating components.

8. Ion Focusing Elements: Components such as ion lenses or skimmers may be present to focus and guide the generated ions from the ionization source toward the mass analyzer.

9. Entrance Aperture: An aperture or orifice through which ions enter the mass analyzer. This component helps control the number and trajectory of ions entering the analyzer.

Q3. Write down the analytical applications of NMR SPECTROSCOPY?

Nuclear Magnetic Resonance (NMR) spectroscopy is a powerful analytical technique with diverse applications across various scientific disciplines. Some key analytical applications of NMR spectroscopy are:

1. Chemical Structure Determination: NMR spectroscopy is widely used for determining the chemical structure of organic compounds. It provides detailed information about the connectivity of atoms, stereochemistry, and functional groups in a molecule.

2. Quantitative Analysis: NMR can be employed for quantitative analysis, allowing researchers to determine the concentration of different components in a sample.

3. Protein Structure Determination: In biomolecular NMR, the technique is crucial for determining the three-dimensional structures of proteins and nucleic acids. This information is essential for understanding biological functions and interactions.

4. Metabolomics: NMR spectroscopy is widely used in metabolomics to profile and quantify metabolites in biological samples. This has applications in medical research, disease diagnostics, and understanding metabolic pathways.

5. Reaction Monitoring: NMR allows real-time monitoring of chemical reactions. Researchers can track the progress of reactions, identify intermediates, and optimize reaction conditions.

6. Quality Control in Industry: NMR spectroscopy is employed in various industries, including pharmaceuticals and food, for quality control purposes. It ensures the consistency and purity of products by identifying and quantifying key components.

7. Environmental Analysis: NMR can be used to analyze environmental samples, providing information about the composition of soils, water, and air. It is valuable for monitoring pollutants and understanding environmental processes.

8. Materials Science: NMR is utilized in materials science to investigate the properties of materials at the atomic and molecular levels. This includes studying polymers, catalysts, and advanced materials.

Q4. Discuss instrumentation of Fourier Transform NMR spectrometer?

The Fourier Transform Nuclear Magnetic Resonance (FT-NMR) spectrometer is a sophisticated instrument that utilizes Fourier transformation techniques to convert the time-domain NMR signals into frequency-domain spectra. Instrumentations of FT-NMR spectrometer are given below

1. Magnet: The heart of the FT-NMR spectrometer is a strong and stable magnet that provides the static magnetic field necessary for NMR experiments. High-field superconducting magnets are commonly used to achieve the required magnetic field strength.

2. Radiofrequency (RF) Coils: RF coils are used to apply radiofrequency pulses for excitation and to detect NMR signals. The coils can be of various designs, including the transmit (excitation) coil and receive (detection) coil. Multiple coils may be used for different experiments and sample sizes.

3. Sample Probe: The sample probe is the component that holds the sample and positions it within the magnetic field. It includes the RF coils and is designed to optimize the interaction between the sample and the magnetic field for efficient NMR signal generation.

4. Gradient Coils: Gradient coils provide spatial encoding information in multi-dimensional NMR experiments. By applying magnetic field gradients in different directions, spatial information is encoded into the NMR signals, allowing the reconstruction of multi-dimensional spectra.

5. Shimming Systems: Shimming is the process of adjusting the magnetic field to be as uniform as possible throughout the sample. Shimming systems, often consisting of adjustable shim coils, help optimize the magnetic field homogeneity.

6. Pulse Sequencer: The pulse sequencer controls the timing and sequence of RF pulses during an NMR experiment. It determines the type of experiment (e.g., 1D or 2D NMR) and the specific parameters for pulse durations, delays, and other experimental conditions.

7. Data Acquisition System: The data acquisition system collects the time-domain signals generated by the NMR experiment. This system samples the signals at regular intervals and digitizes them for further processing.

8. Analog-to-Digital Converter (ADC): The ADC converts the analog NMR signals acquired by the spectrometer into digital data that can be processed by a computer.

9. Computer System: A computer controls the spectrometer, manages data acquisition, and performs Fourier transformation to convert time-domain signals into frequency-domain spectra. Software is used for instrument control, data processing, and spectrum analysis.

Q5. Describe the construction and working of Ruby laser ?

The Ruby laser is one of the earliest and simplest types of lasers, utilizing a synthetic ruby crystal as the gain medium.

Construction

1. Ruby Crystal: The gain medium in a Ruby laser is a synthetic crystal of aluminum oxide (Al₂O₃), which is doped with small amounts of chromium ions (Cr³⁺). The chromium ions act as the lasing ions within the crystal.

2. Flashlamp: Surrounding the ruby crystal is a cylindrical flashlamp, often filled with xenon gas. The flashlamp serves as the optical pump source, providing intense flashes of white light to excite the chromium ions in the ruby crystal.

3. Reflective Mirrors: The ends of the ruby crystal are coated with highly reflective mirrors. One mirror is fully reflective, while the other is partially transparent to allow the laser light to exit.

4. Q-switch (Optional): Some Ruby lasers incorporate a Q-switch to achieve pulsed operation. The Q-switch controls the release of stored energy, allowing for the buildup of population inversion before releasing the laser pulse.

Working

1. Pumping: The operation begins with the flashlamp emitting an intense flash of white light. This light is absorbed by the chromium ions in the ruby crystal, elevating them to higher energy levels. This process creates a population inversion where more ions are in the higher energy state than the lower energy state.

2. Spontaneous Emission: As the chromium ions return to their lower energy state, they can undergo spontaneous emission, releasing photons at the characteristic wavelength of the ruby laser (in the red region, around 694 nm).

3. Stimulated Emission: The released photons can stimulate further emission of photons with the same energy, phase, and direction. This process of stimulated emission leads to the amplification of light and the formation of a coherent beam within the ruby crystal.

4. Multiple Reflections: The coherent light generated by stimulated emission undergoes multiple reflections between the highly reflective mirrors at the ends of the ruby crystal. This causes the light to build up in intensity through further stimulated emission.

5. Output Coupling: Some of the coherent light is allowed to escape through the partially transparent mirror, constituting the laser output. The remaining light continues to stimulate emission within the crystal.

Q6. Discuss the properties and applications of nitrogen laser.

A nitrogen laser is a type of gas laser that uses nitrogen gas as the lasing medium.

Properties

1. Lasing Medium: Nitrogen lasers use molecular nitrogen (N₂) as the lasing medium. The laser action is achieved through an electronic transition in the nitrogen molecules.

2. Wavelength: The typical emission wavelength of a nitrogen laser is in the ultraviolet (UV) region, primarily at 337.1 nanometers.

3. Pulsed Operation: Nitrogen lasers are generally operated in a pulsed mode, producing short-duration bursts of laser light.

4. Excitation Source: Nitrogen lasers are often pumped by electrical discharges, such as a high-voltage electrical discharge through a mixture of nitrogen and helium gases.

Applications

1. Laser Pumping: Nitrogen lasers can be used as pump sources for other lasers, particularly dye lasers that operate in the visible and near-infrared regions.

2. Material Processing: While not as widely used as other types of lasers for material processing, nitrogen lasers have been employed in tasks like cutting and drilling, particularly in applications requiring a UV laser source.

3. Scientific Research: Nitrogen lasers are utilized in various scientific research applications, such as pump lasers for dye lasers or as a convenient source of UV light for photochemical studies.

4. Holography: Nitrogen lasers have been used in holography applications due to their ability to provide short-duration pulses, which are advantageous in certain holographic setups.

5. Medical Applications: In some medical applications, nitrogen lasers have been used for dermatological treatments, such as skin ablation and tattoo removal.

6. Research and Development: Nitrogen lasers find applications in R&D settings, serving as a UV light source for various experiments and studies.

☆☆☆☆☆☆☆☆☆☆

2021

SHORT QUESTIONS

Q 1. What is the difference between molecular ion peak and base peak?

Q2. What is the nitrogen rule? Explain with suitable examples?

Q3.Why tetramethylsilane(TMS) is used as standard reference substance in NMR SPECTROSCOPY?

Q4. What are the characteristics  of a laser beam?

1. Coherence: Laser beams exhibit high coherence, meaning the waves have a consistent phase relationship, leading to a well-defined and stable beam.

2. Collimation: Laser light is highly collimated, maintaining a parallel path with minimal divergence over long distances.

3. Monochromaticity: Laser beams are nearly monochromatic, consisting of a single wavelength or a very narrow range of wavelengths, resulting in a specific color.

4. Directionality: Laser beams are directional, focused and concentrated in a narrow beam, allowing precise targeting of the light.

5. Temporal Coherence: Laser beams have high temporal coherence, with the emitted light having a well-defined and stable phase relationship over time.

Q5. What is spontaneous emission?

Q6. Describe spin-lattice relaxation process?

Q7.Name the various methods available for ionisation of sample  in mass spectroscopy?

Q8.Explain  spin flipping?

Spin flipping refers to a change in the orientation of an elementary particle's intrinsic angular momentum, known as spin. Spin flipping can occur when a particle undergoes a transition between different quantum states, causing its spin to change direction. This phenomenon is crucial in various physical processes, including magnetic resonance imaging (MRI) and certain types of particle interactions.

Q9.Describe coupling constant?

Q10.What is the basic principle  of FT-NMR spectroscopy?

LONG QUESTIONS

Q1. Define chemical shift? Explain  the various factors  affecting  chemical shift value of NMR SPECTROSCOPY?

Q2. Discuss the principle of NMR spectroscopy.

Introduction: Nuclear Magnetic Resonance (NMR) is a spectroscopy technique which is based on the absorption of electromagnetic radiation in the radio frequency Region 4 to 900 mHz by nuclei of the atoms.

Proton Nuclear Magnetic Resonance Spectroscopy is one of the most powerful tools for luc dating the number of hydrogen or proton in the compound. It is used to study a wide range of nuclie.

Principles of NMR

- The principal behind NMR comes from the spin of a nucleus and it generates a magnetic field. Without and external applied magnetic field, the nuclear spins are random in directions.

- But when an external magnetic field (B°) is present the nuclei aligned themselves either with or against the field of the external magnet.

- If and external magnetic field is applied, and energy transfer (ΔE) is possible between ground state to excited state.

- When the spin returns to its ground state level, the absorb radio frequency energy is emitted at the same frequency level.

- The emitted radio frequency signal that give the NMR spectrum of the concerned nucleus.

Q3. Describe the McLafferty  rearrangement with suitable  examples?

Q4. Discuss different types of analysers used in mass spectroscopy?

Mass spectrometry utilizes different types of analyzers to separate ions based on their mass-to-charge ratio (m/z). Common analyzers include:

1. Time-of-Flight (TOF): Ions are accelerated by an electric field and travel a known distance. The time taken to reach the detector is inversely proportional to their mass, allowing for mass determination.

2. Quadrupole: Uses a combination of radiofrequency (RF) and direct current (DC) electric fields to selectively transmit ions based on their mass-to-charge ratio. It is versatile and widely used in both standalone and hybrid mass spectrometers.

3. Ion Trap: Ions are trapped in a three-dimensional space by a combination of electric and magnetic fields. Mass analysis is achieved by selectively ejecting ions based on their m/z values.

4. Orbitrap: Combines an ion trap with an outer electrode that creates an orbiting electric field. Ions oscillate around the central axis, and their frequencies are used to determine their mass.

5. Sector (Magnetic Sector): Utilizes a magnetic field to bend the paths of ions. Ions with different m/z ratios follow different paths, allowing for mass separation.

6. FT-ICR (Fourier Transform Ion Cyclotron Resonance): Ions are trapped in a magnetic field and their motion induces an electric current, allowing for precise mass measurement using Fourier transform techniques.

The choice of analyzer depends on the specific requirements of the analysis.

Q5. Write down the construction, working and uses of Ruby laser?

Q6. Discuss the three level laser system and four level  laser  system.

Three level laser

A three-level laser system is a type of laser configuration that involves three energy levels in the lasing medium. The basic energy level diagram consists of a ground state, an excited state, and a metastable state. Here's a simplified explanation:

1. Ground State (Level 1): At room temperature, most of the atoms or molecules exist in the ground state.

2. Excited State (Level 2): When energy is supplied, typically through optical pumping or electrical excitation, atoms or molecules absorb energy and move to the excited state.

3. Metastable State (Level 3): In a three-level system, there is an intermediate, relatively long-lived state called the metastable state. This state is not as short-lived as the excited state, allowing for population inversion.

In the three-level laser process:

- Pumping: Energy is applied to move particles from the ground state to the excited state.

- Relaxation: Particles in the excited state quickly move to the metastable state, often through a non-radiative process.

- Stimulated Emission: When a metastable atom or molecule in the laser medium encounters an incident photon with the right energy, it can undergo stimulated emission, releasing a coherent photon and returning to the ground state.

Three-level laser systems are less common than four-level systems, but they have been used in certain types of lasers, like the helium-neon laser.

Four level laser

In a four-level laser system, there are four energy levels involved in the lasing process. This configuration is designed to overcome some limitations of three-level systems and is commonly used in certain types of lasers. Here's a simplified explanation:

1. Ground State (Level 1): Most of the atoms or molecules are in their lowest energy state at room temperature.

2. Pump State (Level 2): Energy is supplied to move particles from the ground state to a higher energy state, often called the pump state. This state has a relatively short lifetime.

3. Metastable State (Level 3): Particles in the pump state quickly move to a longer-lived metastable state through a non-radiative process. This state is crucial for achieving population inversion.

4. Upper Lasing Level (Level 4): This is the level from which stimulated emission occurs. When a particle in the metastable state encounters an incident photon with the right energy, it can undergo stimulated emission, releasing a coherent photon and returning to the ground state.

The four-level laser system allows for better control of the population inversion process, as the metastable state provides a longer-lived reservoir of particles. This configuration is found in various lasers, including some solid-state and semiconductor lasers, providing advantages in terms of efficiency and performance compared to three-level systems.

☆☆☆☆☆☆☆☆☆☆

(2022)

SHORT QUESTIONS

Q1. Describe four level lasers with diagram.

Q2. What is population inversion in laser?

Q3. What is stimulated emission?

Q4. What are metastable ions?

Q5. What is the nitrogen rule? Give its significance?

Q6. Describe spin- spin relaxation?

Q7. Briefly describe basic  principle of NMR.

Q8. What is difference between single focusing and double focusing analyser?

Q9. What is Larmor frequency?

The Larmor frequency is the precession frequency of a charged particle (such as an electron or a proton) in response to an external magnetic field. It is named after the British physicist Joseph Larmor who first described this phenomenon.

The Larmor frequency (ω) is given by the equation:

ω = γB

where;

- (ω) is the Larmor frequency in MHz,

- (γ) is the gyromagnetic ratio in MHz/tesla,

- (B) is the strength of the static magnetic field in tesla.

Q10. Give some advantages of laser.

Q11. What is tandem mass spectrometry?

Tandem mass spectrometry (TMS/MS) is a technique that involves two consecutive stages of mass spectrometry to analyze chemical compounds. It provides additional information about the structure and composition of molecules compared to single-stage mass spectrometry.

The typical process in tandem mass spectrometry involves the following steps:

- First Stage (MS1)

- Ion Selection

- Collision-induced Dissociation (CID) or Other Activation Methods

- Second Stage (MS2)

Tandem mass spectrometry is widely used in fields such as proteomics, metabolomics, and small molecule analysis.

Q12. What is shielding and deshielding in NMR?

Shielding

Shielding refers to the phenomenon where electron density around a nucleus partially or completely shields the nucleus  from the external magnetic field.

Shielding results in a downfield shift in the NMR spectrum.

Deshielding

Deshielding is the opposite of shielding. It occurs when electron density around a nucleus is reduced, making the nucleus more exposed to the external magnetic field.

Deshielding results in an upfield shift in the NMR spectrum.

Q13. Describe optical resonator as laser system component.

Q14. Mass spectroscopy is different from other spectroscopic methods. How?

Mass spectrometry (MS) is distinct from other spectroscopic methods in several ways:

- In MS, samples are ionized before analysis. Various ionization techniques, such as electron impact, electrospray ionization, are used to generate ions., while other spectroscopic methods often involve the interaction of photons with molecules, causing electronic transitions (UV-Vis), vibrational transitions (IR), or nuclear spin transitions (NMR) without necessarily involving ionization.

- MS is powerful for both quantification and identification of compounds. It provides information about the molecular weight, structure, and composition of analytes. While techniques like UV-Vis and IR may not always offer detailed structural information or the ability to identify specific compounds.

- MS can achieve high mass resolution, while resolution in UV-Vis and IR spectroscopy is often limited compared to high-resolution.

- Tandem MS (MS/MS or MS^n) allows for the fragmentation of ions, providing additional structural information, while UV-Vis and IR spectroscopy may not provide detailed fragmentation data.

Q15. Why deuterated solvents are used in NMR?

Deuterated solvents are used in nuclear magnetic resonance (NMR) spectroscopy for several reasons:

- Deuterated solvents typically have fewer NMR-active nuclei compared to their protonated counterparts. This reduction in the number of resonances results in simpler and more interpretable NMR spectra with reduced signal overlap.

- The use of deuterated solvents helps minimize the solvent's impact on the NMR signals.

- Deuterated solvents provide a consistent and well-defined chemical shift reference in NMR spectra. The signals from deuterated solvents are typically used as reference peaks (0 ppm) for chemical shift measurements.

- The use of deuterated solvents in NMR spectroscopy helps improve spectral quality, simplifies interpretation, and ensures that solvent signals do not interfere with the signals of interest in the sample.

LONG QUESTIONS

Q1.  Discuss the instrumentation of NMR.

The instrumentation of NMR consists of following parts:

Sample holder: Glass tube with 8.5 cm long, 0.3 cm in diameter.

Permanent magnet: It provides a homogeneous magnetic field at 60-100 MHZ

Magnetic coils: These coils induce a magnetic field when current flows through them

Sweep generator: To produce an equal amount of magnetic field pass through the sample

Radio frequency transmitter: A radio transmitter coil transmitter that produces a short powerful pulse of radio waves

Radio frequency receiver: A radio receiver coil that detects radio frequencies emitted as nuclei relax to a lower energy level

Read out systems: A computer that analyses and records the data.

Q2. Write down the analytical applications of NMR SPECTROSCOPY?

Q3. Describe the basic principle of mass spectrometry.

Mass spectrometry is an analytical tool useful for measuring the mass-to-charge ratio (m/z) of one or more molecules present in a sample.  These measurements can often be used to calculate the exact molecular weight of the sample components as well. Typically, mass spectrometers can be used to identify unknown compounds via molecular weight determination, to quantify known compounds, and to determine structure and chemical properties of molecules.

Every mass spectrometer consists of at least these three components:

- Ionization Source

- Mass Analyzer

- Ion Detection System

1. The Ionization Source: Molecules are converted to gas-phase ions so that they can be moved about and manipulated by external electric and magnetic fields. In our laboratory we use a technique called nanoelectrospray ionization, which is somewhat similar to how cars are industrially painted. This method allows for creating positively or negatively charged ions, depending on the experimental requirements.  Nanoelectrospray ionization can directly couple the outlet of a small-scale chromatography column directly to the inlet of a mass spectrometer.  The flow from the column is passed through a needle that is 10-15 um at its tip.

2. The Mass Analyzer: Once ionized, the ions are sorted and separated according to mass-to-charge (m/z) ratios. There are a number of mass analyzers currently available, each of which has trade-offs relating to speed of operation, resolution of separation, and other operational requirements.  The specific types in use at the Broad Institute are discussed in the next section.  The mass analyzer often works in concert with the ion detection system.

3. Ion Detection System: The separated ions are then measured and sent to a data system where the m/z ratios are stored together along with their relative abundance.  A mass spectrum is simply the m/z ratios of the ions present in a sample plotted against their intensities. Each peak in a mass spectrum shows a component of unique m/z in the sample, and heights of the peaks connote the relative abundance of the various components in the sample.

Q4. Discuss the electron ion ionization of sample in mass spectrometry.

Q5. Write down the construction and working of Ruby laser?

Q6. Discuss the properties and applications of nitrogen laser.

☆☆☆☆☆☆☆☆☆☆

Created by: Ambreen Alam